## Slide 1: SMART FIRE ALARM
Nischay Jain-K051
Priyank Shah- K055
Swaraj Tandel –K70
Shrey Patel – K076

## Slide 2
The Smart Fire Alarm System is a cutting-edge technology designed to detect fires and alert occupants of a building in case of an emergency. This system utilizes Cisco Packet Tracer to simulate a real-life environment for testing and troubleshooting purposes.
Testing and Troubleshooting
To ensure the reliability and effectiveness of the Smart Fire Alarm System, the following steps will be taken:
Simulate different fire scenarios using Cisco Packet Tracer to test the system's response time and accuracy.
Test the system's ability to communicate with emergency services and alert occupants of the building.
Identify and troubleshoot any issues or malfunctions in the system.

## Slide 3
Testing Scenarios
Electrical fire in a residential building
Kitchen fire in a restaurant
Wildfire in a forested area
Implementation Details
Cisco Packet Tracer will be used to simulate the different fire scenarios.
The Smart Fire Alarm system will be integrated into the simulation and its response time and accuracy will be recorded.

## Slide 4: Smart Fire Alarm Integration
The Smart Fire Alarm system is a state-of-the-art technology designed to detect and alert occupants of a building in the event of a fire. This system is equipped with advanced sensors and communication devices that work together to provide real-time information to building managers and emergency responders. In this project, we will be using Cisco Packet Tracer to simulate the Smart Fire Alarm system and explore its features and functionalities.
System Architecture
The Smart Fire Alarm system consists of several components that work together to detect and alert occupants of a building in the event of a fire. These components include:
Smoke detectors
Heat detectors
Carbon monoxide detectors
Control panel
Communication devices

## Slide 5
Simulation in Cisco Packet Tracer
Cisco Packet Tracer is a powerful simulation tool that allows us to design, configure, and test network topologies. In this project, we will be using Cisco Packet Tracer to simulate the Smart Fire Alarm system and explore its features and functionalities. The simulation will include the following components:
Smoke detectors
Heat detectors
Carbon monoxide detectors
Control panel

## Slide 6: Smart Fire Alarms vs Traditional Fire Alarms
Real-Time Notifications
Smart fire alarms can send real-time notifications to your smartphone or other devices, alerting you of any potential fire hazards or emergencies. This allows you to take immediate action and can potentially save lives and property.
Remote Monitoring
Smart fire alarms can be remotely monitored by professionals or third-party services, providing an extra layer of protection and peace of mind. This can also help in detecting potential issues before they become major problems.

## Slide 7: Applications
Early Detection
Notification Alerts
Enhanced Safety Features
Self-Testing and Maintenance Alerts
Connectivity to Emergency Services
Energy Efficiency

## Slide 8
THANKYOU